## Slide 1: Making the Most of our Surface Storage – a San Diego Story
San Diego County Water Authority
Amy Chen
MWD Program Chief
achen@sdcwa.org

## Slide 2: Overview of Presentation
System Overview
Reservoir Systems
Regional Investments in Supply Reliability
Historical Use and Operations of Reservoirs
Conclusions

## Slide 3
The Water Authority formed in 1944 under County Water Authority Act
  24 member agencies
  36-member Board of Directors
Service Area
  Approximately 3.1 million residents (97% of County population)
  Regional economy of $186 billion
Facilities
  300 miles of large diameter, gravity flow pipeline in two major alignments
  131 service connections - treated and untreated
  Dams, reservoirs, pump stations, hydroelectric facilities, treatment plant
San Diego County Water Authority
Notes: 3

## Slide 4: Water Authority Service Area Historic and Projected Normal Year Demands

## Slide 5: San Diego Region Watersheds
San Juan
Santa Margarita
Orange County
San Diego County
Imperial County
San Luis Rey
Carlsbad
San Dieguito
Penasquitos
San Diego River
Sweetwater
Pueblo
Otay
Tijuana

## Slide 6: San Diego County Reservoir Storage Overview
Reflects historic and modern investments
25 Reservoirs in the San Diego Region
  Total Storage Capacity 590,000 AF
12 Supply reservoirs connected to aqueduct system
Current Regional Storage level is: 395,000 AF
  Water Authority Storage is : 47,000 AF
Reservoirs are owned and managed by Member Agencies (Except Olivenhain)

## Slide 7: Storage Pools by Reservoir
Chart: 
| Barrett | Cuyamaca | Dixon | El Capitan | Henshaw | Hodges | Jennings | Loveland | Lower Otay | Miramar | Morena | Murray | Olivenhain | Poway | Ramona | Red Mountain | San Dieguito | San Vicente | Sutherland | Sweetwater | Wohlford
Member Agency | 0.90466 | 0.10731 | 0.89754 | 0.77442 | 0.36205 | 0.96224 | 0.9209 | 1 | 0.72473 | 0.725 | 0.26922 | 0.80149 | 0 | 0.93874 | 0.2423 | 0.89303 | 0.8923 | 0.38564 | 0.69042 | 0.52378 | 0.3609
Emergency | 0.64545
Water Authority | 0.11436 | 0.1185 | 0.15737 | 0.031496 | 0.19794

## Slide 8
Henshaw
Dixon
Wohlford
Escondido-Vista WTP
Total Storage = 61,000 AF
Treatment = 65 mgd
Sutherland
San Vicente*
El Capitan
Miramar WTP
Miramar
Murray
AlvaradoWTP
Total Storage = 243,000* AF
Treatment = 415 mgd
Olivenhain
Hodges
Olivenhain WTP
Total Storage = 58,000 AF
Treatment = 34 mgd
El Capitan
Jennings
Levy
WTP
Cuyamaca
Total Storage = 28,000 AF
Treatment = 106 mgd
Loveland
Sweetwater
Perdue
WTP
Total Storage = 53,000 AF
Treatment = 30 mgd
Barrett
Otay
Otay
WTP
Morena
Total Storage = 138,000 AF
Treatment = 40 mgd

## Slide 9: Regional Investments In Storage Operations and Conjunctive Use Since 2000
$2.5 billion regionally since 2000
$1.5 billion Emergency/Carryover Storage Project
  New and expanded surface storage
  Reoperation of existing reservoirs
$800 million in treatment to optimize conjunctive use of storage
  Two new treatment plants
  Expansion of three existing plants

## Slide 10: ESP/CSP
200,000 AF of regional storage
  One new reservoir and Dam (Olivenhain)
  Raise of existing San Vicente Dam
  Connect Lake Hodges to existing Aqueduct
  Pipelines and Pump stations to optimize treatment and conveyance
Final Phase in Construction
  San Vicente Dam Raise complete late 2012

## Slide 11
Project: Olivenhain Dam & Reservoir
Complete: 2003
Cost: $198 million
Benefit: 25,000 AF of storage

## Slide 12
Project: Lake Hodges Projects
Complete: 2011
Cost: $196 million
Benefits: 20,000 AF ESP storage; 40MW power

## Slide 13
Project: San Vicente Pipeline & Tunnel
Complete: 2011
Cost: $459 million
Benefit: Improved Water Delivery

## Slide 14
Project: San Vicente Dam Raise
Complete: 2012
Cost: $482 million
Benefit: 152,000 AF of new storage

## Slide 15
15
Notes: Shows San Vicente Dam raise

## Slide 16
16

## Slide 17
Complete: 2008
Cost: $179 million
Benefit: 100 MGD treated supply for region
Project: Twin Oaks Water Treatment Plant

## Slide 18: San Diego Regional Investments in Treatment
Project | Cost
Levy Water Treatment Plant Expansion | $46,000,000
Olivenhain Water Treatment Plant | $98,000,000
Alvarado Water Treatment Plant Expansion | $202,000,000
Earl Thomas Reservoir upgrade | $31,000,000
Miramar Water Treatment Plant Expansion | $200,000,000
Otay Water Treatment Plant Expansion | $25,000,000
Otay Water Treatment Plant clear well | $10,000,000
Twin Oaks Valley Water Treatment Plant | $179,000,000
Total | $791,000,000

## Slide 19: Multi-purpose Reservoirs
Capture local runoff
Annual yield
  Average 59,600 AF
Seasonal shift of raw water demand from summer to winter to reduce summer peak demand
Managing variations in weather and runoff
Flood control considerations
Regulatory storage to feed water treatment plants

## Slide 20: 10 Year Reservoir Imported/Local
Chart: 
| 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008
SSOA/SSS Take | 43823.595 | 49156.135 | 44101.28 | 37453.18 | 54216.7 | 56907.6 | 58028 | 41411.4 | 28583.1
Local Production | 127106.3 | 85398 | 57710.9 | 46655.7 | 39467.3 | 27816.2 | 52185.3 | 88540.7 | 47665.7 | 47571

## Slide 21: Actual Example of Using Reservoirs to Shift Peak Demands
Chart: cfs

## Slide 22: Conclusions
Due to geologic constraints, limited groundwater basins in San Diego county
Surface reservoirs were built to capture runoff
  Majority of reservoirs were built before imported water
    Designed to maximize yield from local runoff
  Since imported water deliveries, Water Authority has worked with member agencies to optimize use of imported water
    Integration of regional system with member agencies systems
    Additional reservoirs; conveyance system; treatment plants
Coordinated efforts continue today to ensure supply reliability and facility optimization